## Demo_Checkpoints
SECTION A – SOLUTION ARCHITECTURE & PLATFORM OVERVIEW
Sr | Demonstration Checkpoint | Evaluation Criteria | Evidence Expected
1 | Product Architecture | Show complete architecture of proposed solution | Architecture Diagram Reference Implementation Product Documentation Utility Customer Examples
2 | Native APM & AIP Platform | Demonstrate both modules on same platform
3 | Technology Stack | Show product components and dependencies
4 | Cloud Architecture | Demonstrate deployment architecture
5 | High Availability Design | Demonstrate redundancy architecture
6 | Scalability Mechanism | Demonstrate horizontal/vertical scaling
7 | Data Processing Framework | Explain real-time and batch architecture
8 | API Framework | Demonstrate integration framework
SECTION B – ASSET DATA MODEL & DIGITAL TWIN
Sr | Demonstration Checkpoint | Validation Requirement | Evidence Expected
1 | Asset Registry | Show asset hierarchy | E.g. - Transformer → Bay → Feeder → RMU → Consumer supply chain hierarchy.
2 | Asset Relationships | Parent-child asset mapping
3 | Asset Location Mapping | GIS integration
4 | Asset Digital Twin | Equipment representation
5 | Asset Lifecycle Tracking | Installation to retirement
6 | Multi-Utility Asset Support | Transmission and Distribution assets
7 | Asset Attributes | Custom asset attributes
8 | Bulk Upload Capability | Demonstrate upload mechanism
SECTION C – ASSET HEALTH INDEX (AHI)
Sr | Validation Point | Mandatory Live Demonstration
1 | Health Index methodology | E.g. - For Transformer:
2 | Asset-wise health score | DGA
3 | Health score weighting | Oil Quality
4 | Parameter contribution view | Temperature
5 | Historical trend | Loading
6 | Asset comparison screen | Maintenance Records
7 | User configurable thresholds | Show impact on Health Score.
8 | Drill-down functionality
9 | Health deterioration analysis
10 | Dashboard visualization
SECTION D – ASSET CRITICALITY INDEX (ACI)
Sr | Validation Point | Demo Scenario
1 | ACI methodology | Demonstrate:
2 | Consumer impact calculation | Two substations with identical health but different business impact.
3 | Revenue impact | Difference in ACI.
4 | Reliability impact
5 | Safety impact
6 | Environmental impact
7 | Configurable criticality model
8 | Multi-dimensional criticality ranking
9 | Criticality trend
SECTION E – ASSET RISK INDEX (ARI)
Sr | Validation Point | Demo Scenario
1 | ARI calculation | Show:
2 | PoF calculation | ARI = PoF × CoF
3 | CoF calculation | with visible calculations.
4 | Risk monetization
5 | Risk trend analysis
6 | Enterprise risk dashboard
7 | Risk heat map
8 | Risk ranking
SECTION F – PREDICTIVE ANALYTICS
Sr | Validation Requirement | Demonstration
1 | Remaining Useful Life (RUL) | Show:
2 | Predictive failure model | Predicted failure.
3 | Anomaly detection | Recommendation generated.
4 | Explainable AI | Supporting logic.
5 | Confidence score
6 | Early warning alerts
7 | Recommendation engine
8 | ML model training process
9 | Feedback mechanism
SECTION G – RCM / CBM / FMECA
Sr | Validation Point
1 | Reliability Centered Maintenance
2 | Condition Based Maintenance
3 | FMECA Library
4 | Failure Modes
5 | Consequence Modelling
6 | Maintenance Optimization
7 | Work Order Recommendation
8 | SAP Trigger Capability
SECTION H – DASHBOARDS & VISUALIZATION
Sr | Validation Point
1 | Executive Dashboard
2 | Asset Dashboard
3 | Fleet Dashboard
4 | Risk Dashboard
5 | Geographic Dashboard
6 | Custom Dashboard Builder
7 | Mobile Compatibility
8 | KPI Configuration
SECTION I – ASSET INVESTMENT PLANNING (AIP) - Investment Priortization
Sr | Checkpoint
1 | Investment Value Score
2 | Asset Prioritization
3 | CAPEX Optimization
4 | OPEX Optimization
5 | Portfolio Optimization
6 | Budget Allocation
7 | Funding Constraints
8 | Resource Constraints
SECTION J – SCENARIO PLANNING
Sr | Scenario
1 | Baseline Scenario
2 | Budget Reduced 20%
3 | Budget Increased 20%
4 | Reliability Improvement Target
5 | Risk Reduction Target
6 | Asset Replacement Strategy
SECTION K – REGULATORY & ARR SUPPORT
Sr | Validation Point
1 | ARR support
2 | Tariff impact analysis
3 | Wheeling impact
4 | Regulatory justification
5 | Capital investment planning
6 | Risk reduction valuation
SECTION L – GIS INTEGRATION
Sr | Checkpoint
1 | GIS visualization
2 | Asset map view
3 | Risk heat map
4 | Critical asset display
5 | Failure impact visualization
SECTION M – INTEGRATION DEMONSTRATION
Integration | Validation | Demonstrate
GDH | Data ingestion | 1. Data ingestion.
SAP PM | Work order integration | 2. Data mapping.
SAP MM | Material linkage | 3. Error handling.
SAP FICO | Financial data | 4. Reconciliation.
GIS | Asset location
SCADA | Operational data
ADMS | System status
CYME | Planning data
Historian | Sensor data
API Gateway | External integration
SECTION N – CYBERSECURITY
Sr | Checkpoint
1 | MFA
2 | SSO
3 | Active Directory Integration
4 | RBAC
5 | Audit Logs
6 | Encryption at Rest
7 | Encryption in Transit
8 | SIEM Integration
9 | Vulnerability Management
10 | Security Administration
SECTION O – CONFIGURATION CAPABILITY
Sr | Checkpoint
1 | Create new asset class
2 | Create health model
3 | Create dashboard
4 | Create business rule
5 | Create alarm
6 | Create report
7 | Change threshold
8 | User administration
SECTION P – REPORTING
Sr | Checkpoint
1 | Standard Reports
2 | Ad-Hoc Reports
3 | Scheduled Reports
4 | Regulatory Reports
5 | Export to Excel
6 | Export to PDF
7 | Report Security
SECTION Q – MANAGED SERVICES & SUPPORT
Sr | Checkpoint
1 | Incident Management
2 | SLA Monitoring
3 | Ticketing
4 | Upgrade Strategy
5 | Patch Management
6 | Hypercare Support
7 | Knowledge Transfer